## Bill 1 - Preliminaries
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
General Description of the Works
A | The proposed works is for the construction of an administration
building, a chemical storage house and irrigation and soil
conservation strategies. All structures are of reinforced concrete
construction frame work.
B | The buildings foundation, columns and beams are of reinforced
concrete. The ground floor is of reinforced concrete with
external block walls. The roof is supported by concrete
beams on columns.
C | The external walls of the structure is constructed with block walls.
D | The entire works, including the provisions of all services and
external works are to be performed in accordance with the
Drawings, Specifications, Conditions of Contract and the
Bill of Quantities.
Site Location
F | The site for the proposed works is situated at bequia,
Saint Vincent and the Grenadines.
Site Visit
G | The Contractor is to visit the site and ascertain for himself the
most convenient from the site access and egress and is to
allow here or in his rates for complying with any restrictions
or conditions that may be imposed by the Police or other
authorities or parking of the trucks or other vehicles and
| mobile plants. | Sum |  |  | 0
| To Collection Summary Page 1/01 |  |  |  | 0
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
Site Visit (Cont'd)
A | The Architect and/or Consultant will make all provisions for
the Contractor to visit the site during normal working
hours, Monday to Friday and during the tender period.
Claims
B | No claims, which are attributable to any neglect on the part
of the Contractor for any of the foregoing, i.e; soil or site
access, site conditions, will be entertained.
Tenders
C | The following documents have been sent to the Contractor
for the purpose of tendering:
(1) Contract Drawings;
(2) Contract Documents.
D | While care have been taken to ensure reasonable accuracy,
the Contractor is required to ascertain that he has received
all required documents. He is also required to make certain
that the Bill of Quantities and the Drawings are complete
and to immediately inform the Quantity Surveyor if any
page or sheets is missing or alternatively if pages are
repeated, or if any typing errors are observed.
E | Failure to comply with these requirements will invalidate
any subsequent claim made by the Contractor.
F | The tender is to be submitted on the prescribed form, which
must be completed in full. The Client does not bind himself
to accept the lowest or any tender.
| To Collection Summary Page 1/02 |  |  |  | 0
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
Dimensions
A | Figured dimensions shall be followed in preference to measure-
ments by scale and large scale drawings in preference to small.
The figure given are intended to show exact dimensions for
construction of the building. It shall be the duty of the Cont-
ractor to verify all the dimensions given on the Drawings and
to report any inconsistent errors to the Engineer before
| commencement of the works. |  |  |  | 0
Detailed Instructions
B | The Engineer shall furnish additional instructions by means of
drawings or otherwise necessary for the proper execution of
the work. All such drawings and instructions shall be of con-
sistency with the contract documents, developments thereof
and reasonable interence thereon. All work will be executed in
conformity with these additional instructions and no work
| shall be executed without proper drawings and instructions. |  |  |  | 0
C | The Engineer shall have the right to make necessary changes
in the work, and in such cases will issue revised drawings
and instructions in accordance with the Conditions of
| Contract. |  |  |  | 0
Rates to be Inclusive
D | The rates inserted by the Contractor against items in this docum-
ent shall deemed to include for the provision of all supervision,
labour, materials, plant, transport for delivery to site (where
not specifically mentioned in the description), temporary
storage of materials, the erection, maintenance and removal
of scaffolding, temporary staging, plank ways, protection,
profits and overheads and all other items deemed necessary
for completion of all works in accordance with the drawings
and Bill of Quantities, to the reasonable satisfaction of the
| Engineer. |  |  |  | 0
| To Collection Summary Page 1/03 |  |  |  | 0
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
Firm Price
A | The contract will be a firm price contract. Adjustments in the
contract price shall not be made for fluctuations in currency
or labour, materials, plants, transport or other cost which
may affect the proper carrying out of the works.
Documents
B | The Drawings and the Bill of Quantities are to be read as one
document. Everything necessary for the proper execution
of the works, should be done, whether or not specifically
shown on the drawings or stated in the Bills of Quantities
as long as long as may be reasonable inferred there from.
Social Security
C | The Contractor shall comply with all ordinances and regulations
regarding the payment of Social Security contributions etc.
for the Employees on the project.
Overtime
D | No work is to be executed outside normal working hours with-
out the consent and/or approval of the Project Engineer. Should the
working of overtime be necessary in order to complete the
works by the date agreed, no extra will be allowed for same
except as permitted by the Conditions of Contract.
Insurances
E | Insurance - Damage to Property - The Contractor shall and
maintain for the duration of this Contract, Public Liability
Insurance to cover the cost of injury or damage to property
| in and around the work site. | Sum | 1 |  | 0
| To Collection Summary Page 1/04 |  |  |  | 0
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
Insurances (Cont'd)
A | Insurance - Injury to Work People - The Contractor is to allow
for and make all payments with respect to work men compen-
sations, Insurance of Work People, site staff and Employers
authorized persons, and allow for all cost and expenses in
persons, and allow for all cost and expenses in
| connection therewith. | Sum | 1 |  | 0
B | Insurance of the Works - The Contractor is to allow for and
make all payments in respect of all Risk Insurance for the
| new building being constructed. | Sum | 1 |  | 0
Work Performance Security
C | The Contractor shall be responsible for the security of all work
| performance throughout the duration of the project. | Sum | 1 |  | 0
Labour for the Works
D | Provide as necessary, all skilled, semi-skilled and unskilled
labour required for the execution of and completion of the
works. Workmanship is to be of the best quality through-
out, to the reasonable satisfaction of the Engineer.
Foreman-in-Charge
E | Provide a competent foreman-in charge, approved by the
Project Engineer or the Client and all other site staff, deemed
necessary for the proper supervision and adequate
progress of the works involve. The foreman shall be
on the site throughout working hours.
Clerk of Works
F | A Clerk of Works may be approved by the Client if necessary
for the works.
| To Collection Summary Page 1/05 |  |  |  | 0
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
Samples
A | Allow for submitting samples of any materials proposed to be
used in the works for the project Engineer's approval.
Testing Materials
B | The Contractor shall meet all charges and expenses in connect-
ion with the testing of any materials in the works, as may be
required by the Engineer. If any test shows that the materials
on executed works are not in accordance with the Contract,
the cost of such test shall not be borne by the Contractor
| and shall not be set-off against the Provisional Sums. | Sum | 1 |  | 0
Defected Work
C | Any defective materials of sub-standard workmanship not in
accordance with the Contract, shall be removed and replaced
without charge.
Plants, Tools and Vehicles
D | Provide and install all necessary hoist, ladders, tools and other
plant and vehicles and allow for altering and maintaining
them as necessary and removing when they are no longer
| required. | Sum | 1 |  | 0
General Scaffolding
E | Provide all scaffolding, including all external scaffolds, birdcage
scaffolds, towers, etc. and all movable platforms and alter,
shift and adapt from time to time as necessary and to the
heights required, and dismantle upon completion of the
| works. | Sum | 1 |  | 0
| To Collection Summary Page 1/06 |  |  |  | 0
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
Transportation for the Works
A | Provide all necessary transportation of Labour, Materials and
Equipment/plants for the purpose of the works involved.
Temporary Water for the Works
B | Provide water for the works at the various levels and positions
where required, including all necessary pumps, temporary
plumbing and storage and pay all charges.
|  | Sum | 1 |  | 0
Electricity Supply
C | The standard electricity supply is 220 volts, 50Hz.
Temporary Lighting and Power for the Works
D | Provide all necessary temporary lighting and electric power
required for the works including for Sub-Contractors and
install all temporary wiring for distributions fittings, meters,
etc., and defray the cost of all current consumed and pay
| all fees and charges therewith. | Sum | 1 |  | 0
Temporary Accommodation for use of the Contractor
E | Provide suitable temporary shed, offices, messrooms, sanitary
accommodation and other buildings required for the use of
| the Contractor. | Item | 1 |  | 0
Temporary Telephone for use of the Contractor
F | The Contractor shall provide a telephone for his own use and
| shall pay all fees and charges in connection therewith. | N/A
| To Collection Summary Page 1/07 |  |  |  | 0
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
Temporary Fencing, Hoardings, Screens, Ganties, etc.
A | Provide and maintain all temporary fencing, hoarding, planked
footpaths, guard rails, gantries and the like as may be requ-
ired for protecting the public, for the proper execution of the
works and for meeting the requirements of the Local
| Authorities. | Sum | 1 |  | 0
Provisional Sums
B | Sums under this heading in the Bill of Quantities shall be used
as directed by the Engineer. Sums not expended, shall be
deducted from the contract sum and adjusted in the Final
Account.
C | The Contractor is not required to add any further charges to
these sums. Where works designated under the headings
are executed by the Contractor and or his Sub-Contractors,
such work shall be measured and valued according to the
provisions of the Conditions of Contract.
Units of Measurements
D | The units of measurements have been abbreviated in the Bills
as follows:
Cubic Metres m³
Square Metres m²
Linear Metres lm
Number No.
Weight kg
Sum Sum
Advertising
E | Advertisement shall not be displayed on the site without the
consent of the Engineer.
F | Dewatering of excavation | Sum | 1 |  | 0
| To Collection Summary Page 1/08 |  |  |  | 0
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
Removing Rubbish, Protective Casting and Cleaning
A | Provide for removing from site from time to time, not less than
weekly, as necessary and on completion of the works, all
rubbish, debris, surplus materials, protective casting, etc.;
and also on completion, clean the works internally and
| externally to the satisfaction of the Project Engineer. | Sum | 1 |  | 0
Log Book
B | Provide and keep on the site of works, a suitable log book, in
which the Architect and/or Engineer may enter and confirm
verbal instructions given. The log shall record daily work
activities and shall be corresponded to the Engineer on a
| weekly basis. | Sum | 1 |  | 0
| To Collection Summary Page 1/09 |  |  |  | 0
St. Vincent & the Grenadines Fisheries Complex
PRELIMINARIES BILL NO. 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUMMARY OF BILL NO. 1
Folio No. 1/01
Folio No. 1/02
Folio No. 1/03
| Folio No. 1/04 |  |  |  | 0
| Folio No. 1/05 |  |  |  | 0
| Folio No. 1/06 |  |  |  | 0
| Folio No. 1/07 |  |  |  | 0
| Folio No. 1/08 |  |  |  | 0
| Folio No. 1/09 |  |  |  | 0
| CARRIED TO GENERAL SUMMARY |  |  |  | 0

## Bill 2A - Substructure
Contruction of Fisheries Complex
EXCAVATION AND EARTHWORKS BILL NO. 2A -01
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUBSTRUCTURE
Provisional
DEMOLITION
| To demolition and removal of wooden beams and columns of existing structure indicated by Engineer | Sum | 1 |  | 0
EXCAVATION AND FILLING
Excavate trenches; commencing at natural ground
level; not exceeding 1.5m deep.
A | To foundation base and trench | m³ | 124 |  | 0
B | To foundation capping beam | m³ | 13 |  | 0
B | To water storage tank. | m³ | 12 |  | 0
Disposal of materials arising from the excavations.
D | Depositing of materials off site. | m³ | 112 |  | 0
FILLING
Filling with selected materials arising from the
excavations; depositing and compacting.
E | To foundation footings. | m³ | 13 |  | 0
Filling with sand; 50.8mm thick on hardcore fill; levelling
and compacting.
F | To surfaces of hardcore fill; to receive concrete. | m² | 139 |  | 0
| To Collection Summary Page 2A/01 |  |  |  | 0
Contruction of Fisheries Complex
EXCAVATION AND EARTHWORKS BILL NO. 2A -02
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUBSTRUCTURE
EXCAVATION AND FILLING (Cont'd)
SUNDRIES
Damp proof membrane; polythene sheeting; 500
gauge; lapped joints; laid horizontally:
A | On sand blinding (Ground Floor). | m² | 105 |  | 0
B | On sand blinding (storage tank base) | m² | 25 |  | 0
Water storage tank.
C | To procurement and installation of membrane type water storage tank (1 no. -2000 gal & 1 no. 1000 gal) in concrete block reinforced enclosure | Sum | 1 |  | 0
TERMITE TREATMENT
Spray applied termite pretreatment as specified to all
exposed surfaces etc. inclusive of pits, trenches and
disturbed areas around the building perimater, for
at least 3 years warranty, in the name of the Client.
D | To foundation | m² | 105 |  | 0
E | To disturbed subsoils around building perimeters. | m² | 105 |  | 0
F | To storage tank base | m² | 25 |  | 0
| To Collection Summary Page 2A/02 |  |  |  | 0
Contruction of Fisheries Complex
FOUNDATION WORKS BILL NO. 2A -03
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUBSTRUCTURE
CONCRETE WORKS
In-situ concrete; plain; 19.05mm aggregate; ordinary portland
cement, for a strength of 1500 P.S.I at 28 days.
A | Blinding to foundation wall strip footings; 50.8mm thick. | m² | 47 |  | 0
B | Blinding to foundation column footings; 50.8mm thick. | m² | 36 |  | 0
C | Blinding to tank slab; 50.8mm thick | m² | 25 |  | 0
Vibrated in-situ concrete; reinforced; 19.05mm aggregate;
ordinary portland cement, for a compressive strength
of 3600 P.S.I at 28 days, filled into formwork and well
tempered around steel reinforcements.
D | In strip footings; exceeding 152.4mm but not exceed 304.8mm thick. | m³ | 14 |  | 0
E | In column footing; exceeding 152.4mm but not exceeding 304.8mm
| thick | m³ | 13 |  | 0
F | In capping beams; exceeding 0.08m² but not exceeding 0.12m² | m³ | 12 |  | 0
sectional area
G | In ground floor slab; on grade; not exceeding 152mm thick. | m³ | 26 |  | 0
H | In reinforced columns; exceeding 0.05m² but not exceeding 0.13m² | m³ | 4 |  | 0
sectional area
I | In foundation blockwall cavities; 203.2mm thick. | m³ | 15 |  | 0
J | In beam supporting tank slab; not exceeding 304.8mm think | m³ | 4 |  | 0
| To Collection Summary Page 2A/03 |  |  |  | 0
Contruction of Fisheries Complex
FOUNDATION WORKS BILL NO. 2A -04
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUBSTRUCTURE
REINFORCEMENT
Reinforcement for in-situ concrete; high yield deformed steel
bars; BS4449; to foundations; stright and bent bars.
A | 5/8" (16mm) diameter bars; in column. | kg | 227 |  | 0
B | 5/8" (16mm) diameter bars; in foundation strip footings. | kg | 490 |  | 0
C | 5/8" (16mm) diameter bars; in floor slab. | kg | 1368 |  | 0
D | 5/8" (16mm) diameter bars; in foundation column footings. | kg | 398 |  | 0
E | 5/8" (16mm) diameter bars; in foundation capping beams. | kg | 726 |  | 0
F | 3/8" (10mm) diameter bars; in capping beam links (stirrups) | kg | 294 |  | 0
G | 3/8" (10mm) diameter bars; in column links (stirrups). | kg | 90 |  | 0
H | 5/8" (16mm) diameter bars; in storage tank beam. | kg | 48 |  | 0
I | 1/4" (10mm) diameter bars; in storage tank beam links (stirrups) | kg | 27 |  | 0
Reinforcement fabric; A142 BRC mesh; BS4483 or similar;
152mm end and side lapped joints; 203mm x203mm square
and mild steel.
K | To concrete bed below ground | m² | 25 |  | 0
FORMWORK
Formwork; basic finish (Class 3); exceeding 127mm but not
exceeding 305mm wide.
M | To edges of foundation footings; not exceeding 305mm thick. | m² | 88 |  | 0
N | To sides of ground slab; on grade; not exceeding 305mm thick. | m² | 8 |  | 0
O | To sides of column; not exceeding 355.6mm thick | m² | 12 |  | 0
| To Collection Summary Page 2A/04 |  |  |  | 0
Contruction of Fisheries Complex
FOUNDATION WORKS BILL NO. 2A -05
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUBSTRUCTURE
BLOCK WALLING
Hollow precast concrete blocks; 200mm x 406mm; in cement
and sand mortar (1:4); reinforced with high yield bars @
762mm o/c and joint reinforcement fabric (all measured
sepeartely); filling block wall cavities with concrete.
A | Block walls; in foundation; 203.2mm thick. | m² | 143 |  | 0
ACCESSORIES/SUNDRY ITEMS FOR BLOCK WALLS
Joint reinforcement; galvanized steel; 'Brickforce' or
similar approved; cutting and fixing in wall; lapped
joints; every two block course.
C | To foundation walls; 203.2mm thick | lm | 52 |  | 0
High yield bars @ 762mm o/c and joint reinforcement fabric;
filling block wall cavities with concrete.
D | To foundation walls; 203.2mm thick | kg | 244 |  | 0
| To Collection Summary Page 2A/05 |  |  |  | 0
COLLECTION SUMMARY
| Folio No. 2A/01 |  |  |  | 0
| Folio No. 2A/02 |  |  |  | 0
| Folio No. 2A/03 |  |  |  | 0
| Folio No. 2A/04 |  |  |  | 0
| Folio No. 2A/05 |  |  |  | 0
| Carried to Summary of Bill No. 2A |  |  |  | 0
Contruction of Fisheries Complex
PAGE SUMMARY BILL NO. 2A
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUMMARY OF BILL NO. 2A
| EXCAVATION AND EARTHWORKS |  |  |  | 0
| FOUNDATION WORKS |  |  |  | 0
| CARRIED TO SUMMARY |  |  |  | 0

## Bill 2B - Superstructure
Contruction of Fisheries Complex
CONCRETE AND REINFORCEMENT WORK BILL NO. 2B -01
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUPERSTRUCTURE
REINFORCED IN-SITU CONCRETE
Vibrated in-situ concrete; reinforced;19.05mm aggregate;
ordinary portland cement, for a compressive strength
of 4000 P.S.I at 28 days, filled into formwork and well
tampered around steel reinforcements.
A | In columns; exceeding 0.05m² but not exceeding 0.15m² sectional
| area; to suspended floor. | m³ | 9 |  | 0
B | In columns; exceeding 0.05m² but not exceeding 0.15m² sectional
| area; to roof slab. | m³ | 7 |  | 0
C | In suspended floor slab; not exceeding 152.4mm thick. | m³ | 29 |  | 0
D | In capping beam; not exceeding 0.15m² sectional area | m³ | 19 |  | 0
E | In ring beam; not exceeding 0.15m² sectional area | m³ | 15 |  | 0
F | In roof slab; not exceeding 127mm thick. | m³ | 22 |  | 0
G | In staircases | m³ | 4 |  | 0
REINFORCEMENT
NB: Prices for steel rod reinforcement in block work
are to include for setting the ends of the steel
reinforcement into the concrete base and threaded
through the hollow cavities of the block work.
Reinforcement for in-situ concrete; high yield deformed
steel bars; BS 4449; to concrete frames; straight and
bent bars.
I | 5/8" (16mm) diameter steel bars; in columns; to capping beam. | kg | 473 |  | 0
J | 3/8" (10mm) diameter steel bars; in columns in links (stirrups). | kg | 221 |  | 0
K | 5/8" (16mm) diameter steel bars; in columns; to ring beam. | kg | 341 |  | 0
L | 3/8" (10mm) diameter steel bars; in columns in links (stirrups). | kg | 171 |  | 0
M | 5/8" (16mm) diameter steel bars; in capping beam. | kg | 1026 |  | 0
N | 3/8" (10mm) diameter steel bars; in capping bream in links (stirrups). | kg | 167 |  | 0
O | 5/8" (16mm) diameter steel bars; in ring beam. | kg | 816 |  | 0
P | 3/8" (10mm) diameter steel bars; in ring beams in links (stirrups). | kg | 236 |  | 0
Q | 5/8" (16mm) diameter steel bars; in concrete slab; suspended floor. | kg | 2831 |  | 0
R | 1/2" (12mm) diameter steel bars; in concrete slab; roof. | kg | 1733 |  | 0
S | 1/2"(12mm) diameter steel bars; in concrete staircases. | kg | 223 |  | 0
T | 1/2" (12mm) diameter steel reinforcement in blockwalls. | kg | 254 |  | 0
I | 1/2" (12mm) diameter steel bars; in door lintel framing | kg | 196 |  | 0
U | 3/8" (10mm) diameter steel bars; in door lintel. | kg | 58 |  | 0
V | 1/4" (8mm) diameter steel bars; in lintel in links (stirrups). | kg | 11 |  | 0
W | 1/2" (12mm) diameter steel bars; in window lintel framing | kg | 113 |  | 0
| To Collection Summary Page 2B/01 |  |  |  | 0
Contruction of Fisheries Complex
FORMWORK WORKS BILL NO. 2B -02
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUPERSTRUCTURE
FORMWORK
Formwork (Class 2); to include timber ledges, struts,
braces and 19.05mm thick manufactured boards (plywood)
or similar approved material; to give a fair face finish
to exposed surfaces of concrete work.
A | To vertical sides of columns. | m² | 183 |  | 0
B | To sides and soffits of capping beams. | m² | 101 |  | 0
C | To sides and soffits of ring beams. | m² | 96 |  | 0
D | To soffits of suspended floor slab; n.e 152.4mm thick. | m² | 187 |  | 0
E | To soffits of roof slab; n.e 125mm thick. | m² | 175 |  | 0
| To Collection Summary Page 2B/02 |  |  |  | 0
COLLECTION SUMMARY
| Folio No. 2B/01 |  |  |  | 0
| Folio No. 2B/02 |  |  |  | 0
| Carried to Summary of Bill No. 2B |  |  |  | 0
Contruction of Fisheries Complex
BLOCK FRAME WORK BILL NO. 2B -03
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
Block Walls
Hollow precast concrete blocks; 152.4mm x 406.4mm; in
cement and sand mortar (1:4); reinforced with high yield
bars @ 812.8mm o/c and joint reinforcement fabric (all
measured seperately); filling block wall cavities
with concrete.
A | Block walls; 152.4mm thick; to Suspended floor. | m² | 172 |  | 0
B | Block walls; 152.4mm thick; to Roof slab | m² | 200 |  | 0
C | Block walls; 152.4mm thick; to parapet wall | m² | 25 |  | 0
D | Block walls; 152.4mm thick; to half-wall | m² | 10 |  | 0
E | Fill single cavity of 152.4mm thick block wall with concrete (parapet);
| (3000 P.S.I at 28 days full strength) (Provisional). | m³ | 44 |  | 0
| To Collection Summary Page 2B/03 |  |  |  | 0
ITEM | Contruction of Fisheries Complex
BLOCK FRAME WORK BILL NO. 2B -04
| DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUPERSTRUCTURE
ACCESSORIES/SUNDRY ITEMS FOR BLOCK WALLS
Joint reinforcement; galvanized steel; 'Brickforce' or
similar approved; cutting and fixing in walls; lapped
joints; every three block course.
A | To walls; 152.4mm thick. | lm | 675 |  | 0
| To Collection Summary Page 2B/04 |  |  |  | 0
COLLECTION SUMMARY
| Folio No. 2B/03 |  |  |  | 0
| Folio No. 2B/04 |  |  |  | 0
| Carried to Summary of Bill No. 2B |  |  |  | 0
ITEM | Contruction of Fisheries Complex
STAIRCASE BILL NO. 2B -06
| DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUPERSTRUCTURE
STAIRCASE
Provisional
The following sums are allowed for works that cannot be
foreseen, define or detailed at this time.
A | Cast and finish concrete step surfaces; in accordance with
| drawings and specifications | Sum | 1 |  | 0
| (Page 3B/06) Carried to Summary of Bill No. 2B |  |  |  | 0
ITEM | Contruction of Fisheries Complex
PAGE SUMMARY BILL NO. 2B
| DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUMMARY OF BILL NO. 2B
| CONCRETE AND REINFORCEMENT AND FORM WORK |  |  |  | 0
| BLOCK FRAME WORK |  |  |  | 0
| STAIRCASE |  |  |  | 0
| CARRIED TO SUMMARY |  |  |  | 0

## Bill 2C - Finishes
Contruction of Fisheries Complex
FINISHES BILL NO. 2C -01
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
FLOOR FINISHES
Floor Screeding
Internal Work
A | Cement and sand (1:4); 50.8mm thick; screeded bed laid to
floor and finished to receive in-situ or tile paving;
| to ground floor surfaces. | m² | 173 |  | 0
B | Cement and sand (1:4); 50.8mm thick; screeded bed laid to
floor and finished to receive in-situ or tile paving;
| to suspended floor surfaces. | m² | 187 |  | 0
Concrete Finishes
Fine sand and cement finish rubbing to concrete works to:
C | Suspended concrete floor slab soffits. | m² | 187 |  | 0
D | Suspended roof slab Soffit | m² | 175 |  | 0
E | Ditto; beam surfaces. | m² | 197 |  | 0
The following sums are allowed for works that cannot be
foreseen, define or detailed at this time.
F | Making good all defective concrete surfaces. | Sum
| To Collection Summary Page 2C/01 |  |  |  | 0
Contruction of Fisheries Complex
FINISHES BILL NO. 2C -02
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUPERSTRUCTURE
WALL FINISHES
Internal Work
12.7mm thick; cement and sand (1:3); one coat rendering to:
A | Block walls; 152.4mm thick; to Suspended floor | m² | 206 |  | 0
B | Block walls; 152.4mm thick; to Roof slab | m² | 242 |  | 0
C | Block walls; 152.4mm thick; to parapet wall | m² | 25 |  | 0
D | Blockwalls; 152.4mm thick; to half-wall | m² | 10 |  | 0
External Work
12.7mm thick; cement and sand (1:3); one coat rendering to:
F | Block walls; 152.4mm thick; to suspended slab | m² | 159 |  | 0
G | Block walls; 152.4mm thick; to Roof slab | m² | 181 |  | 0
H | Block walls; 152.4mm thick; parapet wall | m² | 25 |  | 0
I | Blockwalls; 152.4mm thick; to half-wall | m² | 10 |  | 0
| To Collection Summary Page 2C/02 |  |  |  | 0
Contruction of Fisheries Complex
FINISHES BILL NO. 2C -03
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUPERSTRUCTURE
CARPENTRY/TIMBER FRAMING/SECOND FIXING
DOORS/FRAMES
Internal Doors
Standard High-Density Polyethylene doors; fixing to high-density
polyethylene frames; not including required ironmongery
A | HDPE Panel Doors (D1); 0.76m x 2.03m | No | 5 |  | 0
B | HDPE Panel Doors (D2); 1.07m x 2.08m | No | 3 |  | 0
C | HDPE Panel Doors (D3); 1.07m x 2.08m | No | 1 |  | 0
D | HDPE Panel Doors (D4); 1.12m x 2.08m | No | 3 |  | 0
External Doors
Standard High-Density Polyethylene doors; fixing to high-density
polyethylene frames; not including required ironmongery
E | HDPE Panel Doors (D5); 1.12m x 2.08m | No | 7 |  | 0
F | HDPE Double Door (D6); 0.76m x 2.08m | No | 2 |  | 0
G | HDPE Double Door (D7); 1.12m x 2.08m | No | 2 |  | 0
Door Frames
H | HDPE Jambs and heads; 50.8mm x 152.4mm; SAE 316 stainless steel;
| fixing to wall backgrounds requiring plugging | lm | 115 |  | 0
| To Collection Summary Page 2C/03 |  |  |  | 0
Contruction of Fisheries Complex
DOORS/FRAMES/WINDOWS BILL NO. 2C -04
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUPERSTRUCTURE
CARPENTRY/TIMBER FRAMING/SECOND FIXING
WINDOWS
A | Stainless Steel windows; fixed in place to wall openings
| where specified (W1); 0.6m x 1.07m; as recommended. | No | 3 |  | 0
B | Stainless Steel windows; fixed in place to wall openings
| where specified (W2); 0.6m x 1.37m; as recommended. | No | 2 |  | 0
C | Stainless Steel windows; fixed in place to wall openings
| where specified (W3); 1.23m x 1.37m; as recommended. | No | 12 |  | 0
IRONMONGERY
D | Marine Grade SAE 316 Stainless Steel butt hinges; 76.2mm x 101.6mm;
| to all doors. | No | 67 |  | 0
E | SAE 316 Stainless Steel security locksets; to all external doors. | No | 14 |  | 0
F | SAE 316 Stainless Steel key and turnbutton locksets; to internal doors. | No | 6 |  | 0
G | SAE 316 Stainless steel privacy pushbutton lockset; to restroom doors. | No | 5 |  | 0
PAINTING, POLISHING AND SIMILAR NEW WORKS
Prepare, prime and apply two undercoats and one finish
coat of emulsion paint as approved to:
H | Wall surfaces; internal works. | m² | 495 |  | 0
I | Ditto; external works. | m² | 374 |  | 0
J | Suspended concrete floor slab, beams, soffits. | m² | 254 |  | 0
K | Ditto; roof slab, beams and soffits. | m² | 234 |  | 0
| (Page 2C/04) Carried to Summary of Bill No. 2C |  |  |  | 0
Contruction of Fisheries Complex
FINISHES BILL NO. 2C
ITEM |  | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
COLLECTION SUMMARY
| Folio No. 2C/01 |  |  |  | 0
| Folio No. 2C/02 |  |  |  | 0
| Folio No. 2C/03 |  |  |  | 0
| Folio No. 2C/04 |  |  |  | 0
| CARRIED TO SUMMARY |  |  |  | 0

## Bill 2D - Services
Construction of Fisheries Complex
SERVICES BILL NO. 2D - 01
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
PLUMBING INSTALLATION
Sanitary Installation
Supply and fix only the following sanitary appliances to
include assembling and jointing components (joints to
services, waste and overflows measured seperately).
A | Domestic - 3D; Water Closet (WC) suit; vitreous china
'P' or 'S' trap; fixed to floor with screws and floor
| clamps; plastic seat and cover. | No | 5 |  | 0
B | Self mounted; Wash Hand Basin (Sink); Kohler-Tresham -
2992-8; Vitreous China-O-White or similar; fixed with
| metal bracket members with screws and accessories. | No | 4 |  | 0
C | Lavatory Faucet; Kohler-Refinia (5317-4); Polished
| Chrome-CP. | No | 4 |  | 0
D | Installation of water tank pump; specification approved;
| with required plumbing amenities | No | 1 |  | 0
E | Self mounted; Ceramic Urinal; Automatic flush; fixed with metal
| bracket members with screws and accessories. | No | 2 |  | 0
F | Automatic water sprinkler system; 360° sprinkler head to include
| piping, pressure system , sensors and valves | m2 | 457 |  | 0
Provisional
G | Allow a provisional sum for any roughtings, pipes and pipework
fitting including connections not mention in this bill and may
be required for the successful completion of the works and
| and connection to existing sewage system | Sum | 1 |  | 0
| To Collection Summary Page 2D/01 |  |  |  | 0
Construction of Fisheries Complex
ELECTRICAL SERVICES BILL NO. 2D - 02
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
ELECTRICAL INSTALLATION
Provisional
The following sums are allowed for works that cannot be
foreseen, define or detailed at this time.
A | Allow a provisional sum for any roughing, conduits, wiring
fitting and fictures, including connections not mention in this
bill and may be required for the successful completion of the
| works. | Sum | 1 |  | 0
B | Automatic smoke detector sensor units | No | 12 |  | 0
| To Collection Summary Page 2D/02 |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
COLLECTION SUMMARY
| Folio No. 2D/01 |  |  |  | 0
| Folio No. 2D/02 |  |  |  | 0
| CARRIED TO SUMMARY |  |  |  | 0

## Bill 2 Summary
Contruction of Fisheries Complex
FISHERIES COMPLEX PAGE SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
SUMMARY
1 | SUMMARY OF BILL NO. 2A (SUBSTRUCTURE) |  |  |  | 0
2 | SUMMARY OF BILL NO. 2B (SUPERSTRUCTURE) |  |  |  | 0
3 | SUMMARY OF BILL NO. 2C (FINISHES) |  |  |  | 0
4 | SUMMARY OF BILL NO. 2D (SERVICES) |  |  |  | 0
| CARRIED TO GENERAL SUMMARY |  |  |  | 0

## General Summary
Construction of Fisheries Complex
GENERAL PAGE SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | EUR | EUR
GENERAL SUMMARY
1 | PRELIMINARIES |  |  |  | 0
2 | FISHERIES COMPLEX |  |  |  | 0
0
Contingencies
| 10% Contingencies, |  |  |  | 0
| GENERAL SUMMARY TOTAL |  |  |  | 0